AGS Laboratories Working Group Report

- Members are invited to submit any laboratory related issues to the Working Group for further considerations and possible guidance documents.

- The Working group is reviewing and revising the 2008 AGS Laboratories Safety Manual

- The AGS is looking to encourage more AGS Members with laboratories to participate in Labs Working Group meetings.  Looking to recruit more laboratories into AGS Membership.

- Roger Brown (Fugro/AGS Labs Working Group) is the UK Convenor for WG 6- responsible for the revision of TS 17892 Parts 1-12.

- The Working Group will be hosting a seminar (hopefully) to take place on September 24th following an AGS Labs WG meeting. Lab managers will be the targeted audience however all AGS Members will be made aware of the seminar.

- The working group is in discussions with UKAS to find out what the current situation with the TPS 63 UKAS Policy on Deviating Samples is.

- TPS 47 UKAS Policy on Participation in Proficiency Testing: The working group is reviewing this draft document.

- NVQ Level 2- Geotechnical Laboratories and Field Testing: AGS Members Equipe Training are looking into the possibilities of developing an NVQ specific to the Geotechnical industry

Recently published Laboratory Standards

Ground Investigation and Testing - Field Testing

BS EN ISO 22476-1 Electrical Cone and piezocone penetration tests Published February 2013. Moving into implementation phase 
Ground Investigation and Testing – Geohydraulic tests

BS EN ISO 22282-1 General Rules Published October 2012; moving into implementation by removal of BS 5930 clauses 25.4, 25.5, 27 and 28

BS EN ISO 22282-2 Water permeability test in borehole without packer Published October 2012; moving into implementation by removal of BS 5930 clauses 25.4, 25.5, 27 and 29

BS EN ISO 22282-3 Water pressure test in rock Published October 2012; moving into implementation by removal of BS 5930 clauses 25.4, 25.5, 27 and 30

BS EN ISO 22282-4 Pumping tests Published October 2012; moving into implementation by removal of BS 5930 clauses 25.4, 25.5, 27 and 31

BS EN ISO 22282-5 Infiltrometer tests Published October 2012; moving into implementation by removal of BS 5930 clauses 25.4, 25.5, 27 and 32

BS EN ISO 22282-6 Closed packer systems Published October 2012; moving into implementation by removal of BS 5930 clauses 25.4, 25.5, 27 and 33